## Log
Parameter | Unit/description
FuelMix | Ratio of input-to-output
FuelPrice | EUR/MWh
EmissionIntensity | Ton CO2/MWh input
Load, E | Yearly load of electricity, MWh
Load, H | Yearly demand of heat, MWh
GeneratingCapacity | MW
OtherMC | EUR/MWh output
FOM | EUR/MW Generating capacity
LoadVariation E | Hourly demand, electricity
LoadVariation H | Hourly demand, heat
CapVariation | Availability factor in hour h
MWP, E | Marginal willingness to pay €/MWh electricity
MWP, H | Marginal willingness to pay €/MWh heat
E2H | Electricity-to-heat ratio

## Parameters
GENERATOR PARAMETERS, id
FuelMix, BFt
id | Coal | Natural gas | Biomass | GeneratingCapacity | OtherMC | FOM | E2H | Plant type
BP_Coal | 2.0619 | 0 | 0 | 71.3 | 2.9 | 31000 | 0.84 | Back-pressure
BP_NatGas | 0 | 1.9608 | 0 | 20.14 | 4.4 | 29300 | 1.3 | Back-pressure
BP_BioMass | 0 | 0 | 3.1566 | 5.3 | 1.7262 | 66000 | 0.49 | Back-pressure
BH_BioMass | 0 | 0 | 0.98842 | 5.3 | 1.9617 | 32700 |  | Standard, heat
BH_NatGas | 0 | 0 | 0.95238 | 29.69 | 1.1 | 1950 |  | Standard, heat
CD_Coal | 2 | 0 | 0 | 1.6 | 2 | 88000 |  | Standard, electricity
CD_NatGas | 0 | 1.6667 | 0 | 1.6 | 2 | 30000 |  | Standard, electricity
WS | 0 | 0 | 0 | 21.87 | 5 | 50000 |  | Intermittent, electricity
WL | 0 | 0 | 0 | 34.29 | 1.5 | 14000 |  | Intermittent, electricity
PV | 0 | 0 | 0 | 3.84 | 0 | 11300 |  | Intermittent, electricity
SH | 0 | 0 | 0 | 25 | 0.21 | 60.8085 |  | Intermittent, heat
HP | 0 | 0 | 0 | 4.24 | 1.69 | 2000 | -0.29 | Heat pump
FUEL PARAMETERS, BFt
BFt | FuelPrice | EmissionIntensity
Coal | 8.5 | 0.33973
Natural gas | 18.17 | 0.2052
Biomass | 25.2 | 0
OTHER PARAMETERS
Yearly load, E | Yearly load, H | MWP, E | MWP, H
28800 | 30816 | 100 | 100

## HourlyVariation
HOURLY VARIATION
h |  | LoadVariation |  | CapVariation
Hour of the day | Month | LoadVariation E | LoadVariation H | PV | SH | WL | WS
1 | 1 | 80.3688 | 94.1023 | 0 | 0 | 0.094259 | 0.92806
2 | 1 | 77.3165 | 97.9789 | 0 | 0 | 0.075393 | 0.065524
3 | 1 | 75.6896 | 98.3064 | 0 | 0 | 0.057619 | 0.057658
4 | 1 | 74.9971 | 103.9766 | 0 | 0 | 0.057819 | 0.059873
5 | 1 | 75.0785 | 251.784 | 0 | 0 | 0.044218 | 0.040255
6 | 1 | 76.518 | 245.0455 | 0 | 0 | 0.89746 | 0.90839
7 | 1 | 80.8233 | 237.7932 | 0 | 0 | 0.89787 | 0.91877
8 | 1 | 141.8029 | 244.374 | 0 | 0 | 0.9006 | 0.052279
9 | 1 | 147.2629 | 262.9049 | 0 | 0 | 0.91493 | 0.067519
10 | 1 | 147.2434 | 258.9863 | 0.060632 | 0 | 0.91408 | 0.92901
11 | 1 | 147.9537 | 262.0413 | 0.11195 | 0 | 0.90856 | 0.090546
12 | 1 | 145.739 | 256.7083 | 0.15367 | 0 | 0.073417 | 0.061238
13 | 1 | 142.9642 | 250.1988 | 0.15645 | 0.35331 | 0.072179 | 0.068008
14 | 1 | 142.8012 | 245.1429 | 0.15506 | 0.25928 | 0.90788 | 0.12002
15 | 1 | 140.9924 | 227.0479 | 0.11097 | 0.15481 | 0.11029 | 0.15749
16 | 1 | 138.7252 | 220.602 | 0 | 0.12347 | 0.14348 | 0.20397
17 | 1 | 142.8417 | 109.2607 | 0 | 0 | 0.16398 | 0.92861
18 | 1 | 153.1277 | 108.115 | 0 | 0 | 0.89727 | 0.92862
19 | 1 | 150.2404 | 99.314 | 0 | 0 | 0.90041 | 0.92873
20 | 1 | 142.7635 | 102.2669 | 0 | 0 | 0.90443 | 0.92881
21 | 1 | 134.2897 | 101.8987 | 0 | 0 | 0.90351 | 0.92868
22 | 1 | 98.9471 | 99.4472 | 0 | 0 | 0.90376 | 0.92888
23 | 1 | 93.4694 | 97.3798 | 0 | 0 | 0.90334 | 0.92862
24 | 1 | 86.8959 | 95.4779 | 0 | 0 | 0.071218 | 0.92829
1 | 2 | 71.662 | 99.0031 | 0 | 0 | 0.89846 | 0.92855
2 | 2 | 68.6932 | 97.9271 | 0 | 0 | 0.90414 | 0.92245
3 | 2 | 67.2325 | 104.4001 | 0 | 0 | 0.87656 | 0.91765
4 | 2 | 66.8875 | 105.7327 | 0 | 0 | 0.084569 | 0.084763
5 | 2 | 67.3931 | 194.8909 | 0 | 0 | 0.05731 | 0.065717
6 | 2 | 69.2773 | 204.3058 | 0 | 0 | 0.054006 | 0.91426
7 | 2 | 73.3449 | 220.0139 | 0 | 0 | 0.8847 | 0.92054
8 | 2 | 120.5352 | 220.0081 | 0 | 0 | 0.097758 | 0.92675
9 | 2 | 125.279 | 238.9235 | 0 | 0 | 0.87524 | 0.92533
10 | 2 | 125.3486 | 231.5645 | 0.23224 | 0 | 0.067356 | 0.9049
11 | 2 | 126.7503 | 227.3298 | 0.35656 | 0 | 0.056218 | 0.065323
12 | 2 | 125.9847 | 210.2971 | 0.43235 | 0.48248 | 0.05992 | 0.074233
13 | 2 | 123.7453 | 198.0212 | 0.4464 | 0.63163 | 0.058784 | 0.065593
14 | 2 | 123.8015 | 184.3601 | 0.40523 | 0.61469 | 0.080655 | 0.091867
15 | 2 | 122.3655 | 177.2529 | 0.32124 | 0.6051 | 0.0875 | 0.099736
16 | 2 | 120.5995 | 100.2421 | 0.20289 | 0.49357 | 0.10055 | 0.11746
17 | 2 | 124.7632 | 99.3411 | 0 | 0.46737 | 0.11412 | 0.10511
18 | 2 | 133.0671 | 95.4478 | 0 | 0 | 0.1237 | 0.91336
19 | 2 | 128.4127 | 96.4783 | 0 | 0 | 0.88256 | 0.90522
20 | 2 | 120.4477 | 94.7532 | 0 | 0 | 0.88481 | 0.90951
21 | 2 | 112.5978 | 99.3752 | 0 | 0 | 0.89008 | 0.91523
22 | 2 | 87.0905 | 95.8551 | 0 | 0 | 0.88688 | 0.91538
23 | 2 | 81.5718 | 98.0589 | 0 | 0 | 0.8823 | 0.91522
24 | 2 | 75.773 | 96.2767 | 0 | 0 | 0.87558 | 0.9131
1 | 3 | 76.6062 | 93.8004 | 0 | 0 | 0.9053 | 0.92318
2 | 3 | 73.3169 | 106.3499 | 0 | 0 | 0.89322 | 0.91828
3 | 3 | 71.715 | 107.8914 | 0 | 0 | 0.88874 | 0.9181
4 | 3 | 71.2132 | 195.8755 | 0 | 0 | 0.036096 | 0.90979
5 | 3 | 71.3238 | 209.6524 | 0 | 0 | 0.042815 | 0.040242
6 | 3 | 72.6264 | 221.0718 | 0 | 0 | 0.047884 | 0.045662
7 | 3 | 76.8849 | 236.2824 | 0 | 0 | 0.036013 | 0.027454
8 | 3 | 124.0693 | 239.9615 | 0.00097345 | 0 | 0.03246 | 0.029835
9 | 3 | 128.6 | 230.804 | 0.22153 | 0 | 0.02076 | 0.021476
10 | 3 | 128.2818 | 219.8111 | 0.37895 | 0 | 0.0094359 | 0.0078054
11 | 3 | 129.1874 | 208.8763 | 0.50202 | 0.55147 | 0.0081989 | 0.0025191
12 | 3 | 128.039 | 181.8376 | 0.57684 | 0.64461 | 0.0072883 | 0.0026906
13 | 3 | 125.4738 | 175.5047 | 0.60131 | 0.62824 | 0.0014308 | 0.0016959
14 | 3 | 125.3924 | 165.7415 | 0.57531 | 0.61639 | 0.0020318 | 0.00098362
15 | 3 | 123.8256 | 101.2347 | 0.50147 | 0.60792 | 0.0023532 | 0.00027775
16 | 3 | 121.3629 | 86.0824 | 0.42248 | 0.59268 | 0.88891 | 0.00010844
17 | 3 | 124.5025 | 82.9256 | 0.32708 | 0.57913 | 0.89549 | 0.91965
18 | 3 | 133.6448 | 86.7648 | 0.0095954 | 0.56784 | 0.89073 | 0.92146
19 | 3 | 131.4521 | 86.4043 | 0 | 0.53172 | 0.88332 | 0.92096
20 | 3 | 125.2964 | 92.0293 | 0 | 0.54639 | 0.91273 | 0.93482
21 | 3 | 118.2222 | 89.4294 | 0 | 0 | 0.91652 | 0.93295
22 | 3 | 110.9086 | 91.4028 | 0 | 0 | 0.91493 | 0.92458
23 | 3 | 85.4397 | 98.8995 | 0 | 0 | 0.91509 | 0.92559
24 | 3 | 80.0002 | 96.5537 | 0 | 0 | 0.90963 | 0.92428
1 | 4 | 68.8682 | 76.809 | 0 | 0 | 0.84563 | 0.89687
2 | 4 | 65.8523 | 75.3132 | 0 | 0 | 0.84921 | 0.89586
3 | 4 | 64.2987 | 148.9655 | 0 | 0 | 0.84963 | 0.90017
4 | 4 | 63.6802 | 154.7335 | 0 | 0 | 0.012645 | 0.88374
5 | 4 | 63.3672 | 156.5235 | 0 | 0 | 0.010004 | 0.0033261
6 | 4 | 63.5621 | 162.9858 | 0 | 0 | 0.014395 | 0.0090847
7 | 4 | 65.0693 | 169.5217 | 0 | 0 | 0.015701 | 0.011782
8 | 4 | 112.1852 | 170.4946 | 0.0073704 | 0 | 0.0095546 | 0.0048105
9 | 4 | 117.8684 | 180.9546 | 0.028369 | 0 | 0.013162 | 0.014233
10 | 4 | 118.1938 | 170.3406 | 0.37992 | 0 | 0.016619 | 0.011834
11 | 4 | 119.6233 | 167.1332 | 0.50244 | 0 | 0.013972 | 0.006872
12 | 4 | 118.8402 | 167.4821 | 0.58059 | 0.50293 | 0.022279 | 0.011246
13 | 4 | 116.4212 | 157.2948 | 0.61856 | 0.51648 | 0.027477 | 0.0084678
14 | 4 | 116.2825 | 141.5798 | 0.61842 | 0.58196 | 0.88364 | 0.0049003
15 | 4 | 113.8045 | 61.432 | 0.59561 | 0.57067 | 0.90823 | 0.0062668
16 | 4 | 109.7861 | 50.7389 | 0.5436 | 0.5035 | 0.89591 | 0.025001
17 | 4 | 109.2209 | 45.8226 | 0.44667 | 0.51477 | 0.87814 | 0.053027
18 | 4 | 115.2197 | 51.808 | 0.31095 | 0.46737 | 0.84214 | 0.87371
19 | 4 | 113.6664 | 51.2207 | 0.015436 | 0.45326 | 0.82817 | 0.88527
20 | 4 | 109.7764 | 55.2193 | 0.0019469 | 0.45439 | 0.82078 | 0.88364
21 | 4 | 105.8114 | 53.6753 | 0 | 0.45834 | 0.77152 | 0.88698
22 | 4 | 101.1524 | 56.4421 | 0 | 0.46511 | 0.82432 | 0.9029
23 | 4 | 77.0648 | 61.1246 | 0 | 0 | 0.79655 | 0.87921
24 | 4 | 72.6196 | 68.073 | 0 | 0 | 0.83046 | 0.88695
1 | 5 | 71.048 | 58.0294 | 0 | 0 | 0.028683 | 0.78844
2 | 5 | 67.7439 | 113.5513 | 0 | 0.41996 | 0.029588 | 0.83175
3 | 5 | 66.029 | 119.8042 | 0 | 0.44987 | 0.025675 | 0.025985
4 | 5 | 65.3102 | 129.5142 | 0 | 0.50067 | 0.021043 | 0.017863
5 | 5 | 64.8166 | 144.5803 | 0 | 0 | 0.0081436 | 0.0077604
6 | 5 | 64.6791 | 142.0591 | 0 | 0 | 0.0050509 | 0.002642
7 | 5 | 66.4406 | 137.098 | 0.0073704 | 0 | 0.0052017 | 0.0014276
8 | 5 | 107.9172 | 137.0677 | 0.019608 | 0 | 0.0052882 | 0.0030813
9 | 5 | 114.2554 | 134.5927 | 0.29051 | 0 | 0.0032178 | 8.8603e-05
10 | 5 | 115.5049 | 121.9969 | 0.42665 | 0 | 0.0011154 | 1.1058e-05
11 | 5 | 117.2981 | 116.7627 | 0.53359 | 0 | 0.0018869 | 0.00028368
12 | 5 | 116.5992 | 113.0847 | 0.61008 | 0.43181 | 0.011019 | 0.0065817
13 | 5 | 114.2568 | 44.8279 | 0.64707 | 0.41883 | 0.021444 | 0.017822
14 | 5 | 114.063 | 44.847 | 0.65416 | 0.39851 | 0.024505 | 0.018387
15 | 5 | 111.8401 | 42.329 | 0.62496 | 0.39343 | 0.74708 | 0.020565
16 | 5 | 108.2989 | 38.2171 | 0.5621 | 0.3989 | 0.73806 | 0.83541
17 | 5 | 107.1656 | 33.8172 | 0.4667 | 0.38891 | 0.70823 | 0.80839
18 | 5 | 111.973 | 31.531 | 0.35002 | 0.37932 | 0.69485 | 0.78953
19 | 5 | 110.0997 | 28.6466 | 0.05201 | 0.36633 | 0.65559 | 0.7461
20 | 5 | 105.9236 | 24.0334 | 0.021555 | 0 | 0.64551 | 0.75086
21 | 5 | 101.7296 | 23.8738 | 0.0041719 | 0 | 0.65526 | 0.783
22 | 5 | 78.0518 | 36.4737 | 0 | 0 | 0.6708 | 0.81238
23 | 5 | 77.0593 | 42.0641 | 0 | 0 | 0.71185 | 0.85345
24 | 5 | 73.4417 | 52.1308 | 0 | 0 | 0.69336 | 0.80596
1 | 6 | 67.4118 | 18.2859 | 0 | 0 | 0.61161 | 0.67433
2 | 6 | 64.1563 | 28.5074 | 0 | 0 | 0.57226 | 0.60342
3 | 6 | 62.4179 | 101.097 | 0 | 0 | 0.016968 | 0.0048637
4 | 6 | 61.6306 | 98.7002 | 0 | 0 | 0.01795 | 0.0037379
5 | 6 | 60.9329 | 109.0227 | 0 | 0.36972 | 0.016678 | 0.71104
6 | 6 | 60.5677 | 109.6037 | 0.0083439 | 0 | 0.013095 | 0.0017164
7 | 6 | 61.5004 | 112.1275 | 0.028925 | 0 | 0.0088162 | 2.4551e-05
8 | 6 | 100.4212 | 114.6892 | 0.066056 | 0 | 0.0031477 | 0.0013571
9 | 6 | 107.901 | 119.947 | 0.28341 | 0 | 0.00049172 | 0.00025313
10 | 6 | 110.4865 | 106.97 | 0.39953 | 0 | 0.00057991 | 0.00052944
11 | 6 | 113.0475 | 108.6732 | 0.48645 | 0.3652 | 0.00056538 | 1.5366e-05
12 | 6 | 112.8534 | 94.3795 | 0.56126 | 0.36407 | 0.0020419 | 0.00022369
13 | 6 | 111.0895 | 94.3337 | 0.61633 | 0.34658 | 0.80557 | 0.83191
14 | 6 | 111.0862 | 87.8664 | 0.63233 | 0.34488 | 0.79503 | 0.81812
15 | 6 | 108.8874 | 40.2712 | 0.60312 | 0.33472 | 0.78924 | 0.80964
16 | 6 | 105.2208 | 37.3444 | 0.55723 | 0.324 | 0.73642 | 0.7496
17 | 6 | 103.6634 | 34.0523 | 0.4763 | 0.30932 | 0.77696 | 0.80112
18 | 6 | 107.3468 | 30.5186 | 0.36198 | 0.29295 | 0.79409 | 0.81854
19 | 6 | 104.7436 | 22.6348 | 0.23905 | 0.094975 | 0.75438 | 0.0018166
20 | 6 | 98.71 | 23.8162 | 0.068559 | 0.10838 | 0.0033114 | 0.0012585
21 | 6 | 94.728 | 20.1411 | 0.024336 | 0.03894 | 0.011358 | 0.013228
22 | 6 | 75.4439 | 18.7676 | 0.0029204 | 0 | 0.0082244 | 0.69323
23 | 6 | 74.8142 | 17.2637 | 0 | 0 | 0.66658 | 0.7673
24 | 6 | 71.3309 | 17.2044 | 0 | 0 | 0.64602 | 0.74856
1 | 7 | 69.115 | 19.1103 | 0 | 0 | 0.64171 | 0.78364
2 | 7 | 65.6777 | 28.9769 | 0 | 0 | 0.62365 | 0.78685
3 | 7 | 63.709 | 80.916 | 0 | 0.31102 | 0.64573 | 0.79634
4 | 7 | 62.8662 | 88.3395 | 0 | 0.34319 | 0.01845 | 0.79238
5 | 7 | 62.225 | 95.8415 | 0 | 0.37367 | 0.011739 | 0.0078749
6 | 7 | 62.0573 | 101.5153 | 0.00097345 | 0.39399 | 0.0082711 | 0.0078163
7 | 7 | 63.4616 | 103.6157 | 0.013489 | 0.39512 | 0.0062898 | 0.0052707
8 | 7 | 68.3639 | 99.7893 | 0.033654 | 0.39004 | 0.0019173 | 0.00091103
9 | 7 | 106.2946 | 94.9082 | 0.25129 | 0.37593 | 0.0014982 | 0.00061516
10 | 7 | 109.7812 | 90.0119 | 0.38201 | 0.35674 | 0.0042022 | 0.0050414
11 | 7 | 112.7748 | 84.6177 | 0.48617 | 0.34093 | 0.0022591 | 0.00058689
12 | 7 | 112.8174 | 79.0255 | 0.56488 | 0.32456 | 0.01835 | 0.023489
13 | 7 | 110.9631 | 79.3175 | 0.60062 | 0.30819 | 0.028349 | 0.024024
14 | 7 | 110.6416 | 74.2455 | 0.62106 | 0.28957 | 0.68391 | 0.026141
15 | 7 | 108.7515 | 38.551 | 0.5952 | 0.27771 | 0.71361 | 0.035252
16 | 7 | 106.0734 | 34.9661 | 0.55028 | 0.26134 | 0.69088 | 0.74113
17 | 7 | 106.9697 | 31.9077 | 0.47282 | 0.15071 | 0.65644 | 0.70851
18 | 7 | 112.5998 | 29.5818 | 0.36059 | 0.13603 | 0.62568 | 0.71399
19 | 7 | 109.0332 | 26.0081 | 0.23001 | 0.12192 | 0.61288 | 0.76638
20 | 7 | 102.1863 | 24.4814 | 0.026283 | 0.10838 | 0.61792 | 0.76847
21 | 7 | 96.6746 | 19.0047 | 0.0083439 | 0.096522 | 0.6397 | 0.78648
22 | 7 | 78.5222 | 19.8681 | 0 | 0.088055 | 0.66531 | 0.82917
23 | 7 | 77.4658 | 14.5623 | 0 | 0.037993 | 0.65284 | 0.81352
24 | 7 | 72.9281 | 18.6101 | 0 | 0 | 0.64798 | 0.79682
1 | 8 | 66.7268 | 21.254 | 0 | 0.29634 | 0.020874 | 0.011274
2 | 8 | 63.4587 | 24.1154 | 0 | 0.30989 | 0.013132 | 0.0096957
3 | 8 | 62.0599 | 19.6502 | 0 | 0.3223 | 0.012133 | 0.0084238
4 | 8 | 62.0014 | 85.7129 | 0 | 0.32964 | 0.015272 | 0.01616
5 | 8 | 62.1741 | 89.3137 | 0 | 0.34714 | 0.022661 | 0.030595
6 | 8 | 62.0605 | 87.6361 | 0 | 0 | 0.025522 | 0.020233
7 | 8 | 63.2496 | 99.429 | 0.00097345 | 0 | 0.013965 | 0.008641
8 | 8 | 109.6123 | 106.3501 | 0.014185 | 0 | 0.012671 | 0.010485
9 | 8 | 115.9475 | 93.7187 | 0.20707 | 0 | 0.0079941 | 0.87874
10 | 8 | 116.8089 | 106.6928 | 0.31401 | 0 | 0.86826 | 0.90108
11 | 8 | 118.4079 | 113.7249 | 0.43332 | 0 | 0.87451 | 0.90352
12 | 8 | 116.9557 | 111.008 | 0.52246 | 0.45213 | 0.87669 | 0.90422
13 | 8 | 114.3832 | 120.9769 | 0.55 | 0.45552 | 0.85398 | 0.88085
14 | 8 | 114.7105 | 118.3913 | 0.56432 | 0.44592 | 0.80574 | 0.84464
15 | 8 | 112.8703 | 39.6499 | 0.54152 | 0.4256 | 0.78602 | 0.86756
16 | 8 | 109.5872 | 37.0908 | 0.49479 | 0.39625 | 0.79333 | 0.85867
17 | 8 | 109.562 | 31.5293 | 0.40106 | 0.36464 | 0.788 | 0.85149
18 | 8 | 114.1313 | 31.1122 | 0.29732 | 0.32569 | 0.79708 | 0.85803
19 | 8 | 110.4547 | 21.856 | 0.047977 | 0.30086 | 0.80194 | 0.87553
20 | 8 | 104.9877 | 23.9322 | 0.012238 | 0 | 0.027521 | 0.026343
21 | 8 | 101.0063 | 18.9402 | 0.00097345 | 0 | 0.018324 | 0.88894
22 | 8 | 79.9518 | 16.0997 | 0 | 0 | 0.015027 | 0.88207
23 | 8 | 78.132 | 17.0784 | 0 | 0 | 0.026676 | 0.014893
24 | 8 | 73.5524 | 19.7273 | 0 | 0 | 0.024946 | 0.015381
1 | 9 | 66.6642 | 38.2209 | 0 | 0 | 0.01809 | 0.011179
2 | 9 | 62.9444 | 37.2376 | 0 | 0 | 0.021259 | 0.0082957
3 | 9 | 61.0063 | 107.7424 | 0 | 0 | 0.022737 | 0.016741
4 | 9 | 60.3014 | 112.979 | 0 | 0 | 0.029063 | 0.030121
5 | 9 | 60.2643 | 117.0735 | 0 | 0 | 0.030942 | 0.023382
6 | 9 | 61.3765 | 123.7714 | 0 | 0 | 0.022674 | 0.015598
7 | 9 | 64.4139 | 134.1481 | 0 | 0 | 0.019218 | 0.77922
8 | 9 | 107.513 | 131.7252 | 0.0031985 | 0 | 0.70672 | 0.81334
9 | 9 | 113.1817 | 131.6593 | 0.019886 | 0 | 0.010767 | 0.0078428
10 | 9 | 113.9677 | 128.3384 | 0.30358 | 0 | 0.0080457 | 0.0051319
11 | 9 | 115.5301 | 120.9388 | 0.43054 | 0 | 0.0067259 | 0.0052501
12 | 9 | 114.8655 | 108.6748 | 0.51732 | 0.3875 | 0.0031215 | 0.0025398
13 | 9 | 112.6268 | 104.7185 | 0.55779 | 0.41883 | 0.78781 | 0
14 | 9 | 112.7416 | 106.9465 | 0.5525 | 0.37028 | 0.78027 | 0
15 | 9 | 110.624 | 41.705 | 0.53832 | 0.40697 | 0.76735 | 0.81906
16 | 9 | 106.9088 | 36.3297 | 0.48367 | 0.39681 | 0.75175 | 0.79115
17 | 9 | 106.6982 | 33.5855 | 0.38312 | 0.38383 | 0.73567 | 0.77957
18 | 9 | 113.2407 | 33.0248 | 0.25059 | 0.36915 | 0.73125 | 0.83669
19 | 9 | 111.6323 | 26.1967 | 0.0070923 | 0.35504 | 0.74062 | 0.82714
20 | 9 | 106.989 | 26.2069 | 0 | 0.34263 | 0.754 | 0.82958
21 | 9 | 102.6112 | 33.1431 | 0 | 0.28223 | 0.73017 | 0.81285
22 | 9 | 97.8278 | 29.8675 | 0 | 0 | 0.70361 | 0.82749
23 | 9 | 77.148 | 34.7848 | 0 | 0 | 0.72682 | 0.83971
24 | 9 | 72.4133 | 35.3545 | 0 | 0 | 0.012678 | 0.011392
1 | 10 | 70.5027 | 59.0125 | 0 | 0 | 0.0048153 | 0.0041967
2 | 10 | 66.7739 | 58.6591 | 0 | 0 | 0.0061064 | 0.0068429
3 | 10 | 64.8271 | 60.3126 | 0 | 0 | 0.0046362 | 0.0036383
4 | 10 | 64.1637 | 143.0566 | 0 | 0 | 0.020986 | 0.024173
5 | 10 | 64.2118 | 149.2673 | 0 | 0 | 0.049688 | 0.91067
6 | 10 | 65.5194 | 154.9705 | 0 | 0 | 0.86099 | 0.90237
7 | 10 | 69.613 | 163.7281 | 0 | 0 | 0.8707 | 0.9136
8 | 10 | 118.2127 | 159.053 | 0 | 0 | 0.88949 | 0.91973
9 | 10 | 122.275 | 157.467 | 0.00097345 | 0 | 0.88931 | 0.91942
10 | 10 | 122.3361 | 154.7856 | 0.18579 | 0 | 0.88077 | 0.92079
11 | 10 | 123.9479 | 145.2201 | 0.31234 | 0 | 0.018492 | 0.020333
12 | 10 | 123.3153 | 130.9011 | 0.40064 | 0.44069 | 0.026415 | 0.03345
13 | 10 | 121.1513 | 126.3176 | 0.44695 | 0.47132 | 0.033012 | 0.025774
14 | 10 | 121.4941 | 122.6826 | 0.45919 | 0.46229 | 0.041789 | 0.038603
15 | 10 | 120.1946 | 52.26 | 0.42387 | 0.44987 | 0.037554 | 0.036036
16 | 10 | 118.3071 | 48.261 | 0.3478 | 0.43633 | 0.020446 | 0.011496
17 | 10 | 122.5051 | 43.4435 | 0.22612 | 0.42052 | 0.014493 | 0.0081762
18 | 10 | 131.1266 | 45.2255 | 0 | 0.37085 | 0.88911 | 0.92639
19 | 10 | 126.313 | 47.5283 | 0 | 0.3669 | 0.88122 | 0.92499
20 | 10 | 120.0249 | 49.7005 | 0 | 0.34996 | 0.87 | 0.9209
21 | 10 | 112.0938 | 57.2594 | 0 | 0 | 0.87052 | 0.91438
22 | 10 | 104.0251 | 62.0196 | 0 | 0 | 0.87611 | 0.91194
23 | 10 | 82.8553 | 57.3049 | 0 | 0 | 0.86709 | 0.8947
24 | 10 | 76.7311 | 50.5331 | 0 | 0 | 0.87122 | 0.89689
1 | 11 | 71.1742 | 71.6734 | 0 | 0 | 0.0065966 | 0.0032328
2 | 11 | 67.7204 | 73.1437 | 0 | 0 | 0.0053544 | 0.0026342
3 | 11 | 65.9158 | 75.5256 | 0 | 0 | 0.0099954 | 0.0094913
4 | 11 | 65.3245 | 81.2848 | 0 | 0 | 0.01496 | 0.017295
5 | 11 | 65.5481 | 78.0596 | 0 | 0 | 0.014642 | 0.90496
6 | 11 | 67.0773 | 171.5934 | 0 | 0 | 0.0118 | 0.91395
7 | 11 | 71.124 | 173.2542 | 0 | 0 | 0.87683 | 0.92142
8 | 11 | 125.7495 | 190.1012 | 0 | 0 | 0.87289 | 0.92133
9 | 11 | 130.6532 | 186.6069 | 0 | 0 | 0.87636 | 0.9181
10 | 11 | 130.362 | 188.9039 | 0.10889 | 0 | 0.010772 | 0.0098577
11 | 11 | 131.0683 | 186.8923 | 0.1691 | 0 | 0.011158 | 0.012582
12 | 11 | 129.0273 | 190.7072 | 0.2282 | 0 | 0.0098972 | 0.012175
13 | 11 | 125.9705 | 171.2452 | 0.24503 | 0.44638 | 0.006407 | 0.0073705
14 | 11 | 125.941 | 172.1263 | 0.19858 | 0.45608 | 0.0074888 | 0.008263
15 | 11 | 124.3679 | 164.3476 | 0.12001 | 0.416 | 0.0055289 | 0.0073561
16 | 11 | 122.4241 | 161.1625 | 0 | 0.36374 | 0.0014378 | 0.00038558
17 | 11 | 126.8124 | 79.7012 | 0 | 0 | 0.896 | 0.91695
18 | 11 | 136.4421 | 85.4057 | 0 | 0 | 0.88795 | 0.91011
19 | 11 | 132.7814 | 78.4522 | 0 | 0 | 0.88245 | 0.90634
20 | 11 | 125.1967 | 69.7208 | 0 | 0 | 0.88097 | 0.91934
21 | 11 | 116.9745 | 69.9429 | 0 | 0 | 0.86442 | 0.92187
22 | 11 | 88.3139 | 73.6991 | 0 | 0 | 0.86753 | 0.90787
23 | 11 | 81.862 | 64.226 | 0 | 0 | 0.86152 | 0.91075
24 | 11 | 75.6599 | 70.0304 | 0 | 0 | 0.82874 | 0.8927
1 | 12 | 78.9438 | 91.4178 | 0 | 0 | 0.02591 | 0.032547
2 | 12 | 75.1634 | 96.5524 | 0 | 0 | 0.024331 | 0.026919
3 | 12 | 73.1354 | 94.1417 | 0 | 0 | 0.02928 | 0.029986
4 | 12 | 72.4153 | 97.1923 | 0 | 0 | 0.02937 | 0.023657
5 | 12 | 72.4432 | 98.2859 | 0 | 0 | 0.035261 | 0.032195
6 | 12 | 73.8463 | 221.9237 | 0 | 0 | 0.039647 | 0.043938
7 | 12 | 78.3104 | 211.785 | 0 | 0 | 0.027797 | 0.022529
8 | 12 | 129.6574 | 212.5151 | 0 | 0 | 0.035397 | 0.029076
9 | 12 | 134.5501 | 221.2025 | 0 | 0 | 0.018074 | 0.014877
10 | 12 | 134.3514 | 213.6415 | 0.041024 | 0 | 0.023398 | 0.019037
11 | 12 | 135.8189 | 213.2185 | 0.089696 | 0 | 0.029532 | 0.031522
12 | 12 | 135.0423 | 203.2192 | 0.13767 | 0 | 0.024257 | 0.022714
13 | 12 | 132.6984 | 199.8101 | 0.15756 | 0.044638 | 0.89255 | 0.91768
14 | 12 | 132.9646 | 199.1736 | 0.14532 | 0.1928 | 0.014575 | 0.015968
15 | 12 | 131.679 | 197.0651 | 0.075512 | 0.12252 | 0.012599 | 0.012924
16 | 12 | 130.1283 | 185.2499 | 0 | 0.072181 | 0.014585 | 0.013984
17 | 12 | 135.5338 | 105.1613 | 0 | 0 | 0.8709 | 0.89563
18 | 12 | 145.0032 | 104.9671 | 0 | 0 | 0.86563 | 0.89579
19 | 12 | 141.1186 | 102.883 | 0 | 0 | 0.87939 | 0.91275
20 | 12 | 133.2789 | 97.569 | 0 | 0 | 0.87612 | 0.90043
21 | 12 | 125.1584 | 91.9751 | 0 | 0 | 0.87646 | 0.89252
22 | 12 | 96.9169 | 83.9478 | 0 | 0 | 0.88374 | 0.90396
23 | 12 | 90.4791 | 88.6423 | 0 | 0 | 0.89297 | 0.91801
24 | 12 | 84.0813 | 92.5118 | 0 | 0 | 0.89891 | 0.018861